SDS-PAGE and Western Blot Protocol

For 10% SDS-PAGE:

1) clean plates with ethanol

2) set-up apparatus

3) make resolving gel mix:

|  | ~5 mL |
| --- | --- |
| water | 1.9 mL |
| 30% polyacrylamide (29:1) | 1.7 mL |
| 1.5 M Tris pH 8.8 | 1.3 mL |
| 10% SDS | 50 (L |
| 10% APS | 50 (L |
| temed | 8 (L |

4) pour gel at angle

5) use 0.01% SDS to keep top of gel even

6) allow to polymerize

7) get rid of 0.01% SDS with blot paper

8) make stacking gel mix:

|  | ~1 mL |
| --- | --- |
| water | 680 (L |
| 30% polyacrylamide (29:1) | 170 (L |
| 1 M Tris pH 6.8 | 130 (L |
| 10% SDS | 10 (L |
| 10% APS | 10 (L |
| temed | 10 (L |

9) pour stacking gel, add gel comb

10) allow to polymerize

11)  add 2x SDS-PAGE sample buffer to samples

12)  boil samples 5’

13)  load onto gel with marker

14)  run gel in Tris-Glycine (w/ SDS) Electrophoresis Buffer at 100 V about 60’

For Western blot:

10x Towbin Buffer:	30.3 g		25 mM Tris

144 g		192 M glycine

(w/ or w/o 100 mL 10% SDS)

adjust volume to 1 L w/ ddH2O

1x Towbin Buffer:	100 mL 10x Towbin Buffer

200 mL methanol

adjust volume to 1 L w/ ddH2O

1)  cut nitrocellulose

2)  soak gel (w/o stacking gel) in Towbin Buffer 15’

3)  soak nitrocellulose in Towbin Buffer 15’ (put in at 45 degree angle to prevent bubbles)

For semi-dry Western blot:

1)  wet extra thick blot paper in Towbin Buffer

2)  set-up Western:			----------------------------------	extra thick blot paper

#######################	gel

++++++++++++++++++++	nitrocellulose

----------------------------------	extra thick blot paper

3)  while setting-up stack, use tube or pipet to prevent air bubbles between layers

4)  transfer protein to membrane:	25 V for 60’ (1 minigel) (manual gives different directions)

For wet Western blot:

1)  wet normal blot paper and sponges in Towbin Buffer

2)  set up Western:			@@@@@@@@@@@@	clear plastic side

~~~~~~~~~~~~~~~~~~~~~	sponge

----------------------------------	blot paper

++++++++++++++++++++	nitrocellulose

#######################	gel

----------------------------------	blot paper

~~~~~~~~~~~~~~~~~~~~~	sponge

@@@@@@@@@@@@	black plastic side

3)  while setting-up stack, use tube or pipet to prevent air bubbles between layers

4)  set-up apparatus

5)  place ice in apparatus

6)  fill up apparatus with Towin Buffer (w/o touching ice)

7)  transfer protein to membrane:	100 V for 60’ (1 minigel)

For antibody probing:

TrisHCl/NaCl:		0 mL 1 M TrisHCl pH 7.5

30 mL 5 M NaCl

fill to 1 L with water

5% TrisHCl/NaCl/milk:	100 mL TrisHCl/NaCl

5 g nonfat dry milk

0.5% TrisHCl/NaCl/milk:	100 mL 5% TrisHCl/NaCl/milk

900 mL TrisHCl/NaCl

- block membrane in 5% TrisHCl/NaCl/milk for at least 1 hour

- dilute block buffer in remaining TrisHCl/NaCl

- prepare 1st antibody dilution in diluted blocking solution

- incubate with 1st antibody at least 1 hour to O/N

- wash with diluted blocking solution 3x (or 2x) for about 10’

- prepare 2nd antibody dilution in diluted blocking solution

- incubate with 2nd antibody (HRP conj) at least 1 hour to O/N

- wash with diluted blocking solution 3x (or 2x) for about 10’ [1:50,000 dilution of 1:2 ( 1:100,000 final dilution]

- mix equal parts luminal/enhancer solution and stable peroxide solution

- incubate for about 5’

- expose/develop film

- can store membranes wrapped in saran (and foil) at -20°C or 4°C